## Slide 1
Reduced Fluid-Structure Interaction and
non-Newtonian models of blood flows for simulating the aortic valve
Author: Luca Caivano
Advisor: Prof. Luca Dedè
Co-advisors: Dr. Ivan Fumagalli, Michele Bucelli
Academic year: 2021-2022
OCTOBER 2022
LUCA CAIVANO

## Slide 2
INTRODUCTION
  Clinical motivations
  Goal of the thesis
MATHEMATICAL MODELS
  Reduced FSI model
  Non-Newtonian model
  Numerical method
NUMERICAL RESULTS
  Numerical setting
  Healthy valve
  Pathological cases
  Newtonian vs non-Newtonian
OCTOBER 2022
LUCA CAIVANO
CONCLUSIONS
1

## Slide 3
LUCA CAIVANO
Introduction
OCTOBER 2022

## Slide 4
Clinical motivations
OCTOBER 2022
LUCA CAIVANO
2
  Cardiovascular diseases are one of the major causes of death worldwide (18 millions of victims, 32% of global deaths)
World Health Organization

## Slide 5
Clinical motivations
OCTOBER 2022
LUCA CAIVANO
2
  Cardiovascular diseases are one of the major causes of death worldwide (18 millions of victims, 32% of global deaths)
  Computational fluid dynamics simulations of blood could help in the understanding of cardiovascular diseases
World Health Organization

## Slide 6
Aortic valve
Clinical motivations
OCTOBER 2022
LUCA CAIVANO
Aorta
Lungs
Pulmonary veins
Left atrium
Mitral valve
Left ventricle
Hall, 2015
Charitos and Sievers, Annals of cardiothoracic surgery, 2015
2
  Cardiovascular diseases are one of the major causes of death worldwide (18 millions of victims, 32% of global deaths)
  Computational fluid dynamics simulations of blood could help in the understanding of cardiovascular diseases
World Health Organization

## Slide 7
OCTOBER 2022
LUCA CAIVANO
Goal of the thesis
  Increased computational performance
  Physical meaning for the parameters
Fluid-Structure Interaction problem
REDUCED VALVE MODEL
3

## Slide 8
OCTOBER 2022
LUCA CAIVANO
Goal of the thesis
CALIBRATE THE PARAMETERS TO REPRODUCE DIFFERENT PHYSIOLOGICAL SCENARIOS
  Increased computational performance
  Physical meaning for the parameters
Fluid-Structure Interaction problem
REDUCED VALVE MODEL
3

## Slide 9
OCTOBER 2022
LUCA CAIVANO
Goal of the thesis
CALIBRATE THE PARAMETERS TO REPRODUCE DIFFERENT PHYSIOLOGICAL SCENARIOS
Study of blood's rheology
NON-NEWTONIAN MODEL
  Increased computational performance
  Physical meaning for the parameters
Fluid-Structure Interaction problem
REDUCED VALVE MODEL
3
https://it.depositphotos.com

## Slide 10
Study of blood's rheology
NON-NEWTONIAN MODEL
OCTOBER 2022
LUCA CAIVANO
Goal of the thesis
CALIBRATE THE PARAMETERS TO REPRODUCE DIFFERENT PHYSIOLOGICAL SCENARIOS
Fluid-Structure Interaction problem
REDUCED VALVE MODEL
3
  Increased computational performance
  Physical meaning for the parameters
  Implementation of the model
  Validation of the model

## Slide 11
UNDERSTAND THE EFFECTS OF
NON-NEWTONIAN
RHEOLOGY IN PROXIMITY OF THE AORTIC VALVE
Study of blood's rheology
NON-NEWTONIAN MODEL
OCTOBER 2022
LUCA CAIVANO
Goal of the thesis
CALIBRATE THE PARAMETERS TO REPRODUCE DIFFERENT PHYSIOLOGICAL SCENARIOS
Fluid-Structure Interaction problem
REDUCED VALVE MODEL
3
  Increased computational performance
  Physical meaning for the parameters
  Implementation of the model
  Validation of the model

## Slide 12
LUCA CAIVANO
Mathematical models and methods
OCTOBER 2022

## Slide 13
RIIS method
OCTOBER 2022
LUCA CAIVANO
Fedele et al, Biomechanics and modeling in mechanobiology, 2015
4
  Immersed implicit surface
  Weak imposition of valve’s velocity

## Slide 14
RIIS method
OCTOBER 2022
LUCA CAIVANO
Stress tensor
4

## Slide 15
RIIS method
OCTOBER 2022
LUCA CAIVANO
Smoothed Dirac delta
4

## Slide 16
RIIS method
OCTOBER 2022
LUCA CAIVANO
Leaflets' velocity
4

## Slide 17
Reduced structure model
OCTOBER 2022
LUCA CAIVANO
5
Fumagalli, arXiv, 2021

## Slide 18
Reduced structure model
OCTOBER 2022
LUCA CAIVANO
5
Separation of variables
Fumagalli, arXiv, 2021

## Slide 19
Reduced structure model
OCTOBER 2022
LUCA CAIVANO
LOCAL FORCE BALANCE ON THE LEAFLETS
Fumagalli, arXiv, 2021
5
Separation of variables

## Slide 20
Reduced structure model
OCTOBER 2022
LUCA CAIVANO
FORCE EXERTED ON THE VALVE
DUE TO THE SURROUNDING FLUID
LOCAL FORCE BALANCE ON THE LEAFLETS
Fumagalli, arXiv, 2021
5
Separation of variables

## Slide 21
Non-Newtonian model
OCTOBER 2022
LUCA CAIVANO
6

## Slide 22
Non-Newtonian model
OCTOBER 2022
LUCA CAIVANO
6

## Slide 23
Non-Newtonian model
OCTOBER 2022
LUCA CAIVANO
SHEAR RATE
6

## Slide 24
Non-Newtonian model
OCTOBER 2022
LUCA CAIVANO
CARREAU MODEL
Cho and Kensey, Biorheology, 1991
6
SHEAR RATE

## Slide 25
Numerical methods
OCTOBER 2022
LUCA CAIVANO
FLUID
VALVE
  Semi-implicit Euler scheme
  1-1 velocity-pressure finite elements
  SUPG-PSPG stabilization
  Semi-implicit treatment of the
non-linearity introduced by the
non-Newtonian model
  Explicit Runge-Kutta of the fourth order for the 0D equation
7

## Slide 26
Numerical methods
OCTOBER 2022
LUCA CAIVANO
FLUID
VALVE
  Semi-implicit Euler scheme
  1-1 velocity-pressure finite elements
  SUPG-PSPG stabilization
  Semi-implicit treatment of the
non-linearity introduced by the
non-Newtonian model
  Explicit Runge-Kutta of the fourth order for the 0D equation
FSI: SEGREGATED EXPLICIT COUPLING
7

## Slide 27
Numerical methods
OCTOBER 2022
LUCA CAIVANO
FLUID
VALVE
  Semi-implicit Euler scheme
  1-1 velocity-pressure finite elements
  SUPG-PSPG stabilization
  Semi-implicit treatment of the
non-linearity introduced by the
non-Newtonian model
  Explicit Runge-Kutta of the fourth order for the 0D equation
FSI: SEGREGATED EXPLICIT COUPLING
7

## Slide 28
LUCA CAIVANO
OCTOBER 2022
Numerical results

## Slide 29
Numerical setting
OCTOBER 2022
LUCA CAIVANO
Ascending Aorta
Aortic valve
leaflets
Flow extension
Closed configuration
Open configuration
Boundary conditions
8

## Slide 30
Numerical setting
TOT DOF: 624K
OCTOBER 2022
LUCA CAIVANO
Ascending Aorta
Aortic valve
leaflets
Flow extension
Closed configuration
Open configuration
Boundary conditions
8

## Slide 31
Healthy valve
OCTOBER 2022
LUCA CAIVANO
9
PHYSIOLOGICAL PARAMETERS
  Three stages: opening phase, open valve, closing phase
  Closing phase: slow and rapid phase
  83 ms opening phase (76±30 ms [*])
  65 ms closing phase (42±16 ms [*])
OPENING
[*] Handke et al, The Journal of Thoracic and Cardiovascular Surgery, 2003
SLOW CLOSURE
RAPID CLOSURE
OPEN
CLOSING

## Slide 32
Healthy valve
  Valve is closed until 3 mmHg of transvalvular pressure drop develops
  During the opening progressive development of aortic jet flow
10
OCTOBER 2022
LUCA CAIVANO
t=0.085s
t=0.13s
t=0.20s
t=0.30s

## Slide 33
Pathological cases
STENOTIC CASE
REGURGITANT CASE
OCTOBER 2022
LUCA CAIVANO
Delayed closing that results in reverse flow occurring while the valve closes
Narrowing of the orifice
that limits the anterograde flow through the valve
11
STENOTIC
HEALTHY
https://www.heart-valve-surgery.com
Servier medical art

## Slide 34
Pathological cases
OCTOBER 2022
LUCA CAIVANO
12

## Slide 35
REGURGITANT
Pathological cases
OCTOBER 2022
LUCA CAIVANO
HEALTHY
12

## Slide 36
STENOTIC
Pathological cases
OCTOBER 2022
LUCA CAIVANO
HEALTHY
  Stronger aortic jet
  More persistent
vortical structures
12

## Slide 37
Newtonian vs Non-Newtonian
OCTOBER 2022
LUCA CAIVANO
13
LITTLE INFLUENCE ON:
  Valve dynamics
  Transvalvular pressure drop
  Large flow structures

## Slide 38
Newtonian vs Non-Newtonian
OCTOBER 2022
LUCA CAIVANO
CAN INFLUENCE:
  Atherosclerotic plaques
  Wall elasticity
STENOTIC CASE
NEWTONIAN
NON-NEWTONIAN
14
t=0.085s
t=0.12s
t=0.20s
t=0.29s
NEWTONIAN
NON-NEWTONIAN
NEWTONIAN
NON-NEWTONIAN
NEWTONIAN
NON-NEWTONIAN

## Slide 39
Newtonian vs Non-Newtonian
OCTOBER 2022
LUCA CAIVANO
t=0.085s
t=0.12s
t=0.20s
t=0.29s
STENOTIC CASE
STENOTIC
REGURGITANT
SIGNIFICANT DIFFERENCES
14
NEWTONIAN
NON-NEWTONIAN
NEWTONIAN
NON-NEWTONIAN
NEWTONIAN
NON-NEWTONIAN
NEWTONIAN
NON-NEWTONIAN

## Slide 40
Conclusions
OCTOBER 2022
LUCA CAIVANO

## Slide 41
Conclusions
OCTOBER 2022
LUCA CAIVANO
ACHIEVEMENTS
15
  Calibration of the model in different scenarios

## Slide 42
Conclusions
OCTOBER 2022
LUCA CAIVANO
ACHIEVEMENTS
15
  Calibration of the model in different scenarios
  Implementation and validation of the non-Newtonian model
  Comparison between rheological models

## Slide 43
  Calibration of the model in different scenarios
  Implementation and validation of the non-Newtonian model
  Comparison between rheological models
Conclusions
OCTOBER 2022
LUCA CAIVANO
ACHIEVEMENTS
15
Significant differences observed only on wall shear stress

## Slide 44
Conclusions
OCTOBER 2022
LUCA CAIVANO
ACHIEVEMENTS
FUTURE DEVELOPMENTS
  Calibration of the model in different scenarios
  Implementation and validation of the non-Newtonian model
  Comparison between rheological models
  Investigation of other types of
non-Newtonian models
  Inclusion of the left ventricle in the
domain
  Account for the compliance of
the aortic wall
  Integration of patient-specific data in the computational framework
Significant differences observed only on wall shear stress
15

## Slide 45
OCTOBER 2022
LUCA CAIVANO
Thank you
for your attention!

## Slide 46
Essential bibliography
OCTOBER 2022
LUCA CAIVANO
Y. I. Cho and K. R. Kensey. Effects of the non-Newtonian viscosity of blood on flows in a diseased arterial vessel. part 1: Steady flows. Biorheology, 1991.
S. Tabakova, E. Nikolova, and S. Radev. Carreau model for oscillatory blood flow in a tube. AIP Conference Proceedings, 2014.
M. Fedele, E. Faggiano, L. Dede, and A. Quarteroni. A patient-specific aortic valve model based on moving resistive immersed implicit surfaces. Biomechanics and modeling in mechanobiology, 2017.
A. Quarteroni, L. Dede’, A. Manzoni, and C. Vergara. Mathematical Modelling of the Human Cardiovascular System: Data, Numerical Approximation, Clinical Applications. Cambridge University Press, 2019.
I. Fumagalli. A reduced 3D-0D FSI model of the aortic valve including leaflets curvature. arXiv, 2021.
P. Africa, R. Piersanti, M. Fedele, L. Dede, and A. Quarteroni. lifex - heart module: a high-performance simulator for the cardiac function - package 1: Fiber generation. arXiv, 2022.

## Slide 47
OCTOBER 2022
LUCA CAIVANO
Additional material

## Slide 48
Reduced structure model
OCTOBER 2022
LUCA CAIVANO
Leaflets’ curvature
Elasticity coefficient
Surface density
Damping coefficient

## Slide 49
Numerical methods
OCTOBER 2022
LUCA CAIVANO
VMS-inspired coefficient
Linear forms
First order approximation

## Slide 50
Numerical methods
OCTOBER 2022
LUCA CAIVANO
NUMERICAL SOLUTION SCHEME FOR THE NON-NEWTONIAN 3D-0D FSI MODEL

## Slide 51
COMPARISON
WITH THE LITERATURE
Validation of the non-Newtonian model
OCTOBER 2022
LUCA CAIVANO
  Semi-analytical procedure
in the reference
  Steady and pulsatile pressure gradient for two different radii
STEADY CASE
Tabakova et al, AIP conference proceedings, 2014

## Slide 52
Validation of the non-Newtonian model
OCTOBER 2022
LUCA CAIVANO
PULSATILE CASE
VELOCITY PROFILE
VISCOSITY DISTRIBUTION
MINIMUM FLUX

## Slide 53
HEALTHY
STENOTIC
REGURGITANT
Numerical setting
OCTOBER 2022
LUCA CAIVANO
8

## Slide 54
Healthy valve
OCTOBER 2022
LUCA CAIVANO
t=0.13s
t=0.20s
t=0.28s
t=0.33s

## Slide 55
Healthy valve
OCTOBER 2022
LUCA CAIVANO
t=0.085s
t=0.13s
t=0.20s
t=0.30s

## Slide 56
Healthy valve: limitation
OCTOBER 2022
LUCA CAIVANO
t=0.42s
  Reverse flow when the valve should be closed
  Geometrical inconsistency
  Don't affect the behavior during opening and closing
  Possible solution: manually adjust the geometry

## Slide 57
Pathological cases
OCTOBER 2022
LUCA CAIVANO
HEALTHY
t=0.13s
t=0.20s
t=0.28s
STENOTIC
t=0.13s
t=0.20s
t=0.30s
  Stronger aortic jet
  More persistent
vorticity structures

## Slide 58
Newtonian vs Non-Newtonian
OCTOBER 2022
LUCA CAIVANO
t=0.085s
t=0.13s
t=0.24s
t=0.34s
REGURGITANT CASE
NEWTONIAN
NON-NEWTONIAN
NEWTONIAN
NON-NEWTONIAN
NEWTONIAN
NON-NEWTONIAN
NEWTONIAN
NON-NEWTONIAN

## Slide 59
Newtonian vs Non-Newtonian
OCTOBER 2022
LUCA CAIVANO
t=0.1s
t=0.13s
t=0.24s
t=0.34s
t=0.1s
t=0.12s
t=0.20s
t=0.29s
NEWTONIAN
NON-NEWTONIAN
NEWTONIAN
NON-NEWTONIAN
NEWTONIAN
NON-NEWTONIAN
NEWTONIAN
NON-NEWTONIAN
NEWTONIAN
NON-NEWTONIAN
NEWTONIAN
NON-NEWTONIAN
NEWTONIAN
NON-NEWTONIAN
NEWTONIAN
NON-NEWTONIAN

## Slide 60
Newtonian vs Non-Newtonian
OCTOBER 2022
LUCA CAIVANO
STENOTIC
REGURGITANT
REGURGITANT
STENOTIC
NEWTONIAN
NON-NEWTONIAN

## Slide 61
Transvalvular pressure drop
OCTOBER 2022
LUCA CAIVANO
Control volumes
Pathological cases
Newtonian vs non-Newtonian

## Slide 62
Anatomy and physiology
OCTOBER 2022
LUCA CAIVANO
Cardiac cycle
Rouleaux aggregation
Stenosis

## Slide 63
Sensibility of the healthy configuration
OCTOBER 2022
LUCA CAIVANO